TANGO  News About Tango Tools
TANGO
News About Tango Tools
Pogo news.
Astor/Starter news

---
Pogo News
Tango-5.5 compatibility.
Set event mode.
Write a memorized attribute at initialization.

---
Pogo News
An extern C method has been added to MyServerClass.cpp file, to use classes as shared library.
extern "C" {
Tango::DeviceClass *_create_PowerSupply_class(const char *name)
{
return PowerSupply_ns::PowerSupplyClass::init(name);
}
}

---
Pogo News
The C++ Makefile is generated on unix to build :
Object files in obj/$OS_NAME
Class shared libraries in shlib/$OS_NAME (MyClass.so)
Device server executable files in bin/$OS_NAME

---
Pogo News
If Pogo is running on Win32,
a VC 6 project file (without MFC) is generated
(VC 8 project will come).

---
Astor/Starter News
The general look has been modified.

---
We encountered two problems with Starter:
If at least one controlled server is blocked, timeouts occurred.
An overload of Database server, when we try to restart many servers.

---
If one controlled server is blocked, timeouts occurred.
It was solved by starting a dedicated thread for each controlled server,

---
The overload of Database server:
It was reduced with a wait before each server startup.
When a server is started, the starter checks if it is running
If is is running --> Start the next one
Else re-check for 5 seconds (default value)
And then start the next one.

---
During this startup phase:
The starter state is Tango::MOVING
In Astor, icon turns blue